Water Quality Readings

Chloride- max. 250ppm

Chlorine- < .5ppm

Copper- between .03 and 1ppm

Calcium Hardness- < 200ppm

Magnesium Hardness- <150ppm

Total Hardness

0-60ppm (soft)

60-120 (medium hard)

120-180 (hard)

180 >ppm (very hard)

Iron- < .3ppm

Nitrate- <10ppm

Phosphates- < .1ppm

Silica- 0-75ppm (hard water-scale)

Zinc- < .5ppm

Copper- .03-1.0ppm (taste)

Chromate- < .05ppm

Alkalinity- (makes water hard)

Ammonium Nitrogen- (additional source nitrogen)

Cyanide- 0ppm

Sulfides- creates odor from anaerobic decomposition

Lead- < .05ppm

Ecoli- bacteria from intestines (0)

Detergent- should not be there (nitrates)

Pesticides- should not be there (cyanide and organics)